**15-027**

**1. State Building Code to be Amended:**

 [ ]  International Building Code [ ]  State Energy Code

 [ ]  ICC ANSI A117.1 Accessibility Code [ ]  International Mechanical Code

 [ ]  International Existing Building Code [ ]  International Fuel Gas Code

 X International Residential Code [ ]  NFPA 54 National Fuel Gas Code

 [ ]  International Fire Code [ ]  NFPA 58 Liquefied Petroleum Gas Code

 [ ]  Uniform Plumbing Code [ ]  Wildland Urban Interface Code

 **Section(s):**

(e.g.: Section: R403.2)

 **Section R324.4.2 (new), R907.2**

 **Title:**

 (e.g: Footings for wood foundations)

 Roof Live Load [for PV]

**2. Proponent Name (Specific local government, organization or individual):**

 **Proponent: Jonathan C. Siu, City of Seattle DPD, representing WABO**

 **Title: Principal Engineer/Building Official**

 **Date: 2/9/2015**

**3. Designated Contact Person:**

 **Name: Jonathan C. Siu**

 **Title: Principal Engineer/Building Official**

 **Address:**

 **City of Seattle, DPD**

 **700-5th Ave, Ste 2000**

 **PO Box 34019**

 **Seattle, WA 98124-4019**

 **Office Phone: 206-233-5163**

 **Cell:**

 **E-Mail address: jon.siu@seattle.gov**

**4. Proposed Code Amendment**. Reproduce the section to be amended by underlining all added language, striking through all deleted language. Insert new sections in the appropriate place in the code in order to continue the established numbering system of the code. If more than one section is proposed for amendment or more than one page is needed for reproducing the affected section of the code additional pages may be attached. (Examples on the SBCC [website](https://fortress.wa.gov/ga/apps/sbcc/Page.aspx?nid=191))

 **Code(s)** \_\_IRC\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ **Section(s)** \_\_R324.4.2, R907.2 \_\_\_\_\_\_\_

 Enforceable code language must be used; see an example [by clicking here](https://fortress.wa.gov/ga/apps/SBCC/File.ashx?cid=1803).

 Amend section to read as follows:

**R907.2 ~~Wind resistance.~~** ~~Rooftop-mounted photovoltaic panel or modules systems shall be installed to resist the component and cladding loads specified in Table R301.2(2), adjusted for height and exposure in accordance with Table R301.2(3).~~ [Reserved]

**R324.4.2 Wind resistance.** Rooftop-mounted photovoltaic panel or module systems and their supports shall be designed to resist the component and cladding loads specified in Table R301.2(2), adjusted for height and exposure in accordance with Table R301.2(3).

1. **Briefly explain your proposed amendment, including the purpose, benefits and problems addressed.** Specifically note any impacts or benefits to business, and specify construction types, industries and services that would be affected. Finally, please note any potential impact on enforcement such as special reporting requirements or additional inspections required.

Section R324.4 also does not contain the wind load design requirements for PV panels, although it references Section R907, which does. This proposal moves the text of Section 907.2 to a new Section R324.4.2, so the requirement does not get missed. The proposal also clarifies that the roof structure must be designed to resist the same loading.

Note that Section R907.2 is reserved, not deleted in its entirety, so renumbering of subsequent sections (and attendant editorial section reference changes throughout the code) is not required.

1. **Specify what criteria this proposal meets.** You may select more than one.

[ ]  The amendment is needed to address a critical life/safety need.

[ ]  The amendment is needed to address a specific state policy or statute.

[ ]  The amendment is needed for consistency with state or federal regulations.

[ ]  The amendment is needed to address a unique character of the state.

X The amendment corrects errors and omissions.

1. **Is there an economic impact:** [ ]  Yes     X No

Explain:

This is an editorial change (moving requirements from one section to another), so there is no economic impact.

If there is an economic impact, use the Table below to estimate the costs and savings of the proposal on construction practices, users and/or the public, the enforcement community, and operation and maintenance. If preferred, you may submit an alternate cost benefit analysis.

|  |  |  |  |
| --- | --- | --- | --- |
| Building Type | Construction[[1]](#footnote-1) | Enforcement[[2]](#footnote-2) | Operations & Maintenance[[3]](#footnote-3) |
| Costs | Benefits[[4]](#footnote-4) | Costs | Benefits4 | Costs | Benefits4 |
| Residential |  |  |  |  |  |  |
|  Single family |  |  |  |  |  |  |
|  Multi-family |  |  |  |  |  |  |
| Commercial/Retail |  |  |  |  |  |  |
| Industrial |  |  |  |  |  |  |
| Institutional |  |  |  |  |  |  |

Please send your completed proposal to: sbcc@ga.wa.gov

All questions must be answered to be considered complete. Incomplete proposals will not be accepted.

1. $ / square foot of floor area or other cost. Attach data. **Construction** costs are costs prior to occupancy, and include both design and direct construction costs

that impact the total cost of the construction to the owner/consumer. [↑](#footnote-ref-1)
2. Cost per project plan. Attach data. **Enforcement** costs include governmental review of plans, field inspection, and other action required for enforcement. [↑](#footnote-ref-2)
3. Cost to building owner/tenants over the life of the project. [↑](#footnote-ref-3)
4. Measurable benefit. [↑](#footnote-ref-4)